ELECTRICIAN DAILY JOB CHECKLIST A practical start-to-finish checklist for solo electricians and small crews.

| Customer |  | Job # |  |
| --- | --- | --- | --- |
| Job address |  | Date |  |
| Lead electrician |  | Crew |  |
| Scope |  | Permit # |  |

BEFORE LEAVING THE SHOP

| ☐ | Review the approved estimate, scope, plans, and customer notes. |
| --- | --- |
| ☐ | Confirm permits, inspection requirements, utility coordination, and access instructions. |
| ☐ | Load required materials, fittings, fasteners, labels, and approved substitutions. |
| ☐ | Verify meters, testers, ladders, power tools, batteries, and specialty tools are ready. |
| ☐ | Load required PPE, lockout/tagout equipment, barriers, and first-aid supplies. |

ARRIVAL AND CUSTOMER CONFIRMATION

| ☐ | Park safely, protect the work area, and confirm site access. |
| --- | --- |
| ☐ | Introduce yourself and confirm the requested work before starting. |
| ☐ | Document existing damage or conditions with notes and photos. |
| ☐ | Confirm shutdowns, panel access, pets, occupied areas, and cleanup expectations. |
| ☐ | Get written approval before performing work outside the original scope. |

WORK AND SAFETY

| ☐ | De-energize when required and verify absence of voltage before work begins. |
| --- | --- |
| ☐ | Apply lockout/tagout and barriers appropriate to the job and applicable rules. |
| ☐ | Use listed materials and follow manufacturer instructions and applicable code. |
| ☐ | Keep the work area organized; protect occupants, finishes, and customer property. |
| ☐ | Record material changes, labor additions, delays, and customer decisions. |
| ☐ | Test work as completed and document readings or results. |

CLOSEOUT

| ☐ | Label circuits, panels, disconnects, devices, and equipment as required. |
| --- | --- |
| ☐ | Complete final functional and safety checks. |
| ☐ | Remove debris, wipe down the work area, and return moved items. |
| ☐ | Take final photos and save receipts, serial numbers, and inspection notes. |
| ☐ | Explain completed work, operation, limitations, and next steps to the customer. |
| ☐ | Obtain completion approval and deliver the invoice or payment instructions. |

MATERIALS USED / FOLLOW-UP / NOTES

Important: Adapt this checklist to your licensing, code, OSHA, company, and local authority requirements.